## Emergency Lighting
Example Quarry - North — Emergency Lighting Test
Example Electrical Pty Ltd ¦ ABN: 98 765 432 109 ¦ Electrical Licence: EW123456
Auditor: Jane Auditor ¦ Date Tested: 30/09/2026 ¦ Next Test Due: 30/09/2027
# | Location | Asset Location | Asset ID | Type | Maintained/Non-Maintained | Fitting Type/Manufacturer | Date | Visual Inspection | 90-Min Discharge Test | Automatic Switching Test | Charging Circuit Test | Pass/Fail | Score | Notes / Recommendations | Next Test Due
1 | Example Quarry - North | North Door | EL-001 | Emergency Exit Sign | Maintained | Acme Exit 24m | 30/09/2026 | Pass | Pass | Pass | Pass | Pass | 100.0% |  | 30/09/2027

## Defects
Example Quarry - North — Emergency Lighting Test — Defects
Example Electrical Pty Ltd ¦ ABN: 98 765 432 109 ¦ Electrical Licence: EW123456
Defects recorded: 0 ¦ Date Tested: 30/09/2026 ¦ Priority: L Low · M Medium · H High · U Urgent
# | Location | Asset Location | Asset ID | Defect ID | Priority | Rectified / Scheduled | Date Rectified / Scheduled | Responsibility | Notes / Recommendations
No defects recorded