## Register
Example Quarry - North — Switchboard / Enclosure Audit
Example Electrical Pty Ltd ¦ ABN: 98 765 432 109 ¦ Electrical Licence: EW123456
Auditor: Jane Auditor ¦ Date Tested: 30/09/2026 ¦ Next Audit Due: 30/09/2027
Area | Board | Date Tested | Pass/Fail | Pass | Fail | N/A | Untested | Score | Highest Risk | Failed Items | Rectified / Scheduled | Defect ID | Responsibility | Priority (L,M,H,U) | Next Audit Due
Plant | MSB |  |  | 0 | 0 | 0 | 11 | 0.0% | [6 empty] | 30/09/2027
Plant | DB1 |  |  | 0 | 0 | 0 | 11 | 0.0% | [6 empty] | 30/09/2027

## MSB
Switchboard / Enclosure Audit
Example Quarry - North ¦ Example Electrical Pty Ltd ¦ ABN: 98 765 432 109 ¦ Electrical Licence: EW123456
Area: Plant ¦ Board: MSB
Auditor: Jane Auditor ¦ Date Tested: 30/09/2026
Next Audit Due: 30/09/2027
Audit Summary
Total Items | 11
Pass | 0
Fail | 0
N/A | 0
Untested | 11
Score | 0.0%
Overall | UNTESTED
Item | Test / Pass Criteria | Result | Defect ID | Comments | Risk Rating | Responsibility / Action
1. Enclosure Condition | Enclosure is structurally sound, door closes and latches properly, no cracks, corrosion, or physical damage. IP rating maintained.
2. Ventilation | Ventilation openings are clear and unobstructed. Fans operational if fitted. No excessive heat build-up inside enclosure.
3. Moisture / Vermin | No signs of moisture ingress, condensation, water staining, or vermin. Enclosure seals intact.
4. Insulation | Visible insulation on conductors is intact — no cracking, brittleness, discolouration, or abrasion. Cable management tidy.
5. Busbars | Busbars are clean, securely fixed, correctly rated, and free from discolouration, arcing marks, or corrosion.
6. Terminations | All terminations are tight, correctly landed, properly rated, and free from heat damage or corrosion. No loose strands.
7. Protection Devices | Protective devices (MCBs, fuses, RCDs) are correctly rated, properly seated, labelled, and all blanking plates in place.
8. Contactors / Relays | Contactors and relays operate correctly with no unusual noise, overheating, or chatter. Contacts in good condition.
9. Mounting / Fixings | All equipment is securely mounted to DIN rail or back panel. Fixings tight, cable ties intact, cable entries sealed.
10. Labelling | All circuits, devices, and phases are clearly labelled. Labels legible and match the distribution board schedule.
11. Door Earthing | Door earth bonding strap is present, intact, and making good contact at both ends. No corrosion at connection points.

## DB1
Switchboard / Enclosure Audit
Example Quarry - North ¦ Example Electrical Pty Ltd ¦ ABN: 98 765 432 109 ¦ Electrical Licence: EW123456
Area: Plant ¦ Board: DB1
Auditor: Jane Auditor ¦ Date Tested: 30/09/2026
Next Audit Due: 30/09/2027
Audit Summary
Total Items | 11
Pass | 0
Fail | 0
N/A | 0
Untested | 11
Score | 0.0%
Overall | UNTESTED
Item | Test / Pass Criteria | Result | Defect ID | Comments | Risk Rating | Responsibility / Action
1. Enclosure Condition | Enclosure is structurally sound, door closes and latches properly, no cracks, corrosion, or physical damage. IP rating maintained.
2. Ventilation | Ventilation openings are clear and unobstructed. Fans operational if fitted. No excessive heat build-up inside enclosure.
3. Moisture / Vermin | No signs of moisture ingress, condensation, water staining, or vermin. Enclosure seals intact.
4. Insulation | Visible insulation on conductors is intact — no cracking, brittleness, discolouration, or abrasion. Cable management tidy.
5. Busbars | Busbars are clean, securely fixed, correctly rated, and free from discolouration, arcing marks, or corrosion.
6. Terminations | All terminations are tight, correctly landed, properly rated, and free from heat damage or corrosion. No loose strands.
7. Protection Devices | Protective devices (MCBs, fuses, RCDs) are correctly rated, properly seated, labelled, and all blanking plates in place.
8. Contactors / Relays | Contactors and relays operate correctly with no unusual noise, overheating, or chatter. Contacts in good condition.
9. Mounting / Fixings | All equipment is securely mounted to DIN rail or back panel. Fixings tight, cable ties intact, cable entries sealed.
10. Labelling | All circuits, devices, and phases are clearly labelled. Labels legible and match the distribution board schedule.
11. Door Earthing | Door earth bonding strap is present, intact, and making good contact at both ends. No corrosion at connection points.