## Register
Example Quarry - North — Welder Test
Example Electrical Pty Ltd ¦ ABN: 98 765 432 109 ¦ Electrical Licence: EW123456
Auditor: Jane Auditor ¦ Date Tested: 30/09/2026 ¦ Next Test Due: 30/09/2027
Location | Asset ID | Welder (Machine) | Serial Number | Date Tested | Pass / Fail | Rectified / Scheduled | Date Rectified / Scheduled | Defect ID | Responsibility | Notes / Recommendations | Priority (L,M,H,U) | Next Test Due
Example Workshop | W001 | Acme WeldMaster 200 | SN-1001
Example Workshop | W002 | Beta Arc 200 | N/A

## W001
Welder Inspection & Audit Checklist
Example Quarry - North ¦ Example Electrical Pty Ltd ¦ ABN: 98 765 432 109 ¦ Electrical Licence: EW123456
Location: Example Workshop ¦ Asset ID: W001
Brand: Acme ¦ Model: WeldMaster 200
Serial Number: SN-1001 ¦ Date Tested: 30/09/2026
Prepared By: Jane Auditor ¦ Test Instruments: Test Meter 1000
Audit Summary
Total Items | 12
Pass | 0
Fail | 0
N/A | 0
Score | 0.0%
Actions Required | 0
Overall | UNTESTED
Item | Test / Pass Criteria | Result | Measured Value / Notes | Corrective Action Required
1. Visual Inspection | General visual condition — casing, labels, cooling vents, controls free of damage
2. Clamp connection and braid condition | Earth clamp connection secure; braid intact, no fraying or damage
3. Flexible Leads | Welding leads / cables free of cuts, damage, exposed conductors
4. Insulation resistance — Input circuit to Welding circuit | Min insulation resistance 5 MΩ
5. Insulation resistance — All circuits to Exposed conductive parts | Min insulation resistance 2.5 MΩ
6. Insulation resistance — Welding circuit to auxiliary circuit ABOVE ELV | Min insulation resistance 10 MΩ
7. Insulation resistance — Welding circuit to auxiliary circuit BELOW ELV | Min insulation resistance 1 MΩ
8. Insulation resistance — Separate welding circuit to separate welding circuit | Min insulation resistance 1 MΩ
9. HRD — Maximum Open-Circuit Voltage (a.c. output) | Volts rms a.c. output ≤ 35 V
10. HRD — Maximum Open-Circuit Voltage (d.c. output) | ≤ 35 Volts d.c. output or 35 volts peak
11. HRD — VRD Switching Resistance | 200 Ohms maximum
12. VRD Speed of Operation | ≤ 0.5 s for d.c. output / ≤ 0.3 s for a.c. output
Rectified / Scheduled
Date Rectified / Scheduled
Defect ID
Responsibility
Priority
Auditor Comments / Overall Notes

## W002
Welder Inspection & Audit Checklist
Example Quarry - North ¦ Example Electrical Pty Ltd ¦ ABN: 98 765 432 109 ¦ Electrical Licence: EW123456
Location: Example Workshop ¦ Asset ID: W002
Brand: Beta ¦ Model: Arc 200
Serial Number: N/A ¦ Date Tested: 30/09/2026
Prepared By: Jane Auditor ¦ Test Instruments: Test Meter 1000
Audit Summary
Total Items | 12
Pass | 0
Fail | 0
N/A | 0
Score | 0.0%
Actions Required | 0
Overall | UNTESTED
Item | Test / Pass Criteria | Result | Measured Value / Notes | Corrective Action Required
1. Visual Inspection | General visual condition — casing, labels, cooling vents, controls free of damage
2. Clamp connection and braid condition | Earth clamp connection secure; braid intact, no fraying or damage
3. Flexible Leads | Welding leads / cables free of cuts, damage, exposed conductors
4. Insulation resistance — Input circuit to Welding circuit | Min insulation resistance 5 MΩ
5. Insulation resistance — All circuits to Exposed conductive parts | Min insulation resistance 2.5 MΩ
6. Insulation resistance — Welding circuit to auxiliary circuit ABOVE ELV | Min insulation resistance 10 MΩ
7. Insulation resistance — Welding circuit to auxiliary circuit BELOW ELV | Min insulation resistance 1 MΩ
8. Insulation resistance — Separate welding circuit to separate welding circuit | Min insulation resistance 1 MΩ
9. HRD — Maximum Open-Circuit Voltage (a.c. output) | Volts rms a.c. output ≤ 35 V
10. HRD — Maximum Open-Circuit Voltage (d.c. output) | ≤ 35 Volts d.c. output or 35 volts peak
11. HRD — VRD Switching Resistance | 200 Ohms maximum
12. VRD Speed of Operation | ≤ 0.5 s for d.c. output / ≤ 0.3 s for a.c. output
Rectified / Scheduled
Date Rectified / Scheduled
Defect ID
Responsibility
Priority
Auditor Comments / Overall Notes