## Push Test
Example Quarry – RCD & ELR Test (Push Test)
Example Electrical Pty Ltd ¦ ABN: 98 765 432 109 ¦ Electrical Licence: EW123456
Auditor: Jane Auditor ¦ Date Tested: 30/09/2026 ¦ Next Push Test Due: 30/10/2026
# | Area | Panel / Asset Name | Device Type | Amp Rating | Date Tested | Pass / Fail | Notes / Comments | Next Test Required
1 | Wash Plant | MSB 1 CB 1 | MCB Type B | 16A | 30/09/2026 | Fail |  | 30/10/2026
2 | Wash Plant | MSB 1 CB 2 |  |  | 30/09/2026 | Untested |  | 30/10/2026
3 | Crusher | MCC 2 CB 1 |  |  | 30/09/2026 | Untested |  | 30/10/2026
Notes:

## Defects
Example Quarry – RCD & ELR Test (Push Test) – Defects
Example Electrical Pty Ltd ¦ ABN: 98 765 432 109 ¦ Electrical Licence: EW123456
Defects recorded: 1 ¦ Date Tested: 30/09/2026 ¦ Priority: L Low · M Medium · H High · U Urgent
# | Area | Panel / Asset Name | Defect ID | Priority | Rectified / Scheduled | Date Rectified / Scheduled | Responsibility | Notes / Recommendations
1 | Wash Plant | MSB 1 CB 1 | D1 | H | Scheduled for Repair |  | Client

## Summary
Example Quarry – RCD Test Summary
Test Type | Push Test
Date | 30/09/2026
Auditor | Jane Auditor
Total | 3
Pass | 0
Fail | 1
N/A | 0
Untested | 2
Next Test Due | 30/10/2026
Failed circuits | 1 — see the Defects sheet